AGATA Ancillary Detectors and Ancillary Detector Integration Working Group

Specifications of the AGATA Ancillary Detector GTS Interface

Work Document

Version 1.1, February 2005

Contributors: D. Bazzacco, P. Bednarczyk, M. Bellato, P.J. Coleman-Smith, A. Czermak, B. Dulny, A. Gadea, R. Isocrate, P. Jones, L. Olivier, V. Pucknell, Ch. Theisen, G. Wittwer, M. Zieblinski.

## Introduction

The Advance Gamma-ray Tracking Array (AGATA) is a step forward in many aspects of the gamma-ray spectroscopy technology. The concept of tracking the gamma ray will allow having large efficiency and peak to total ratios for large multiplicity cascades of gamma-rays. But this is not the only breaking through aspect of the project, new concepts on the data processing, based on digital electronics, is being developed. Among the characteristics of this new electronics, two of them have an important impact on the ancillary devices and associated electronics:

- the sustainable high counting rates

- the capability of processing potentially 192 trigger requests every clock cycle (10ns) and therefore, even if the real trigger gate is several cycles, since the processing time of the data is orders of magnitude longer, the system will do parallel processing of the signals.

The full AGATA will be design to cope with up to 50 kHz counting rate in a single crystal and with a global trigger rate of 500 kHz. This corresponds to more that an order of magnitude increase on trigger rate with respect to previous Compton suppressed arrays. The conventional electronics, with common dead time, used in most (if not all) the existing ancillary detectors will not be able to work at such trigger rate; therefore developments should be foreseen in the next years to avoid situations where the ancillary device is limiting the rate of the full AGATA array.

AGATA requires, in almost all circumstances, ancillary devices to exploit all the capabilities of the tracking and get the best performance figures. The emission point of the gamma ray and the trajectory and velocity of the emitting nuclei are basic information for the reconstruction of the Doppler effects. And several ancillaries will be needed to develop the experimental program with radioactive and stable beams.

To obtain the maximum performance figures of the AGATA-ancillary detector complex, the electronics of the ancillary detector and the trigger interface have to be compliant with the previously mentioned points.

While many ancillary devices already support high counting rates, the processing time of the accepted events and the impossibility to process in parallel events, even if they come from different sub-detectors, is a generalize handicap of present generation electronics.

In the present document we will try to define a trigger interface for ancillary detectors to be used in the phase of the AGATA demonstrator, and therefore to be used initially with a less demanding setup, we should study and include as many features as possible in compatibility with the time and funds scale.

This document should contain the basic characteristics of the GTS interface

## Basic consideration on the standards to be used in the construction of the interface

Since most of the ancillary detectors available in our community have a front-end/read-out based in VME or VXI standard, the ancillary detector GTS-mezzanine interface will be developed in VME standard with full compatibility with the VXI read-out modes. VME and VXI are asynchronous busses and therefore the time required for a read/write cycle depends strongly on the capability of the slave (in this case the interface) to answer. We should be aware that fast readout cycles ≤ 1 μs (is like that for most existing slaves) should be supported.

## Trigger or not trigger?

Before describing the details of the card, it may be useful to make comments on the AGATA trigger. AGATA has a fully digital pipelined electronics and all detectors are time stamped. It is a priori not necessary to use trigger conditions and the system could be considered as a trigger-less system. As explained in the GTS documents, the GTS has a minimum latency time of 6 to 7μs. No “prompt” signals are provided; therefore, the GTS does no provide information such as “do something at a given time”, but rather “what you have done is relevant, data must be kept”. “Trigger” is indeed not an appropriate name. One should rather use “Data filtering”.

With these considerations, it seems difficult to reconcile the GTS with detectors having a standard electronics, requiring prompt signal for signal processing, coding, and having a dead-time. If the ancillary detector is a necessary condition to accept AGATA, data losses can not be avoided.

Let us consider a few typical examples;

- Master ancillary detector. One should remember that some experiments produce a large amount of unwanted gamma-ray which will be in any case thrown-away. This is for instance the case when a spectrometer is used: only gamma-rays in coincidence with the spectrometer are relevant. The spectrometer rate is in general low and the spectrometer dead-time has little consequences on the “dead-time” induced on AGATA. On-line data filtering has also the advantage to reduce the data flow, in particular in the pulse-shape processor farm which may act as a bottle-neck when Ge detectors rate is high. If the ancillary detector has a large counting rate (and therefore some dead-time), event are lost. Dead-time is in this case a drawback for the ancillary detector and for AGATA. A typical example is a beam tracker or the RFD.

- Slave ancillary detector. One should also consider the case of an ancillary detector producing additional information like the neutron wall, a Si ball... In this case, the ancillary detector information in not requested in all cases: data are relevant only if they are in coincidence with AGATA. The aim is then to reduce the ancillary detector data flow. In this case, the ancillary detector dead-time is a draw-back for the ancillary detector itself and for the data quality, but not for AGATA.

- Finally, one should consider intermediate cases mixing “slave” and “master” modes. For instance, a condition like “at least one gamma-ray and silicon ball, or at least three gamma-rays”. Dead time is induced on AGATA when the first condition is fulfilled, but not in the second case.

Let us now take into account the GTS latency.

Most of the ancillary detector electronics is working in common dead time mode. The mezzanine latency is on the order of 7µs (time between the trigger request and the trigger accepted/rejected signals). This latency is too long for standard electronics which has to know within a short time if signals have to be processed or not. If an event has to be rejected after 7µs, a “late reject” has to be used, inducing a dead-time which is dramatic for fast detectors such as beam trackers, the RFD, those using QDC’s… Some detectors like those using eurogam-like trigger have the possibility to use a second trigger level (the validation) which fits in time with the 7µs latency. However, interesting events occurring between the fast trigger level and the validation level are lost, inducing again a dead time. Systems having no second level trigger have to use in any case a “fast clear” signal.

A fast logic signal is therefore mandatory to accommodate most of the existing ancillary detectors. It has been therefore requested to the ADP group (former LLP group) to provide a prompt gamma multiplicity signal (as soon as possible after Ge detector response). A maximum latency of 500ns was agreed.

Note again that using AGATA gamma multiplicity AND ancillary detector (in common dead time) as a condition for AGATA is equivalent to have a common dead time mode for AGATA. In the long term, this is not acceptable. All future ancillary detectors will be requested to work in parallel mode, using for instance digital electronics.

## Backwards compatibility with existing systems

The interface will be a VME module compatible with VXI Eurogam-like and VME and VME (CBLT, …) transfer protocols.

VME/VXI host processor and real time kernel: an agreement for a common processor and real-time kernel is very unlikely since existing ancillary detectors have already VME hardware and software. The ancillary detector/host laboratory should therefore provide its own processor and software.

Data transfer protocol to the AGATA merger has to be compliant with AGATA transfer protocol.

## AGATA GTS mezzanine compatibility

The interface has to be fully compatible with the hosted GTS mezzanine. The VME interface can be simply viewed as an interface between the GTS mezzanine and VME/VXI backplane on one side, and front panel connections on the other side.

We have to make clear once again that the VME interface is not a trigger module. Trigger signals for the ancillary detector (such as ADC gates) have to be generated outside the interface module using output signals such as Local_Trigger or Busy.

## Trigger-request/Trigger acceptance protocol

The basis of the GTS trigger cycle is shown in Figure 1. The interface mechanism will be based on the GTS cycle. Not shown here is the Event_Number received at the same time as Validation_Rejection_Time. The protocol includes two latency times. The first one is the local latency (1μs) between the Trigger_Request and the Local_Trigger signals. The second one is the GTS latency between the Local_Trigger and the Trigger_Validation or Trigger_Reject signals has a minimum value of 6μs.

Figure 1: Trigger request and validation timing diagram

Three ancillary detectors trigger modes are discussed in this document: slow conversion mode, fast conversion mode (at least faster than the GTS latency) and TDR (Total Data Readout) mode.

  - Slow conversion mode

Timing diagram for “slow mode” is shown in Figure 2. Trigger_Request is sent to the GTS. Local_Trigger_Tag is received after Local_trigger. The VME module is then waiting for the answer of the GTS supervisor: Trigger_Validation or Trigger_Reject signal followed by the Validation_Rejection_Tag (same as Local_Trigger_Tag). Since a common dead-time is used, a Busy signal is set during the whole cycle and other Trigger_Request have to be rejected. When the cycle is finished, data can be read-out if the event is accepted.

Figure 2: "Slow conversion" mode timing diagram

  - Fast conversion/Parallel  mode

Timing diagram is shown in Figure 3. In the “fast conversion” mode, ADC data are available before the answer from GTS supervisor (Trigger_Validation or Trigger_Reject signal) has been received. In order to reduce the dead-time, converted data with their associated Local_Trigger_Tag will be sent to the VME CPU module (not the module described in this document) and stored. At that level, it is not yet known whether the ancillary event is accepted or not. When GTS supervisor is responding, the Validation_Rejection_Tag and a Val/Rej status flag are sent to the CPU. After comparing Local_Trigger_Tag and Validation_Rejection_Tag, data are filtered in the VME CPU. Two different VME interface cycles occur for each event: the first one to read the Local_Trigger_Tag, and the second one to read Validation_Rejection_Time and the Val/Rej flag. Synchronization of the read-out cycles has to be carefully studied. With the described cycle the gain in time could be in the order of 5 to 6 μs.

Figure 3: "Fast conversion" mode timing diagram

To include this functionality in the interface will allow, with limited effort, to build a parallel-like working mode for modular systems with differentiated triggers and separate ADCs.

  - Coupling with the TDR acquisition

    - TDR Mode

We propose in this paragraph a mechanism for interfacing the TDR trigger-less system. It might be surprising to suggest a trigger mechanism for a trigger-less system. However, as mentioned in paragraph 3, setting conditions on AGATA reduces the data flow. As far as we know, the TDR electronics for GREAT, RITU and Jurogam is the only available trigger-less system potentially coupled to AGATA. The discussion is therefore based on this system.

A common clock has to be shared between AGATA and TDR, as suggested below.

TDR produces basically two types of data:

- Data participating to the trigger, i.e. silicon stripped detectors (recoil), ToF detector. In this case, a trigger request has to be sent to the AGATA GTS supervisor. This request is a necessary condition to accept AGATA detectors.

- Data not correlated with AGATA, i.e. silicon box, germanium focal plane detector. In this case no trigger conditions are requested. Data are merged for further analysis.

The first type of data can be simply handled as follow: Trigger_Request through the VME interface. A Busy signal has however to be set until the Local_Trigger signal has been generated by the mezzanine.

    - TDR and AGATA clock counter alignment

The TDR clock mechanism is described in the document “VME Metronome unit manual”

Let us briefly remind how TDR time-stamp works: the TDR master clock is provided by the metronome. All ADCs have their own counter driven by the metronome clock (100 MHz). Three mechanisms are used to make sure that the clock phases and the clock counters are correct: i) phase calibration, ii) time-stamp synchronization, iii) time-stamp alignment.

Two master clock counters are running: the TDR and the AGATA one. Ideally, both counters should have the same value. Unfortunately, it is not possible to align two counters within an accuracy of 10ns through the slow control between AGATA and the TDR. The idea is to request at the same time the TDR and AGATA clock counters at the time-stamp synchronization phase. Clock counter values are then known and the difference can be software corrected.

The implementation suggested by P.J. Coleman-Smith consists of implementing in the Ancillary Detector GTS VME interface (FPGA) an embedded TDR data source (ETDS) which behaves like any other TDR ADC: see block diagram annex B.

The mechanism includes the following features:

- The Ancillary Detector GTS interface provides the 100 MHz clock (LVDS differential signal) to the TDR Metronome VME module.

- Phase calibration. ADC’s and ETDS clock signals have to be phase calibrated as explained in the metronome document, page 3. This mechanism is equivalent to the GTS phase equalization procedure. The calibration is performed before the TDR is taking data. A sync pulse is sent from the metronome; the interface sends it back through the error line. A connection between the metronome 9 pin D connector (differential) and the Ancillary Detector GTS interface has to be provided. The procedure corresponds to phase 2 of metronome startup sequence (see page 6 of the metronome document).

- Time-stamp synchronization. This procedure is performed to load the current TDR metronome timestamp value into all of the timestamp counters in the TDR system at the same time to guarantee all counters are synchronized to within 10ns. The procedure is performed when the TDR starts: a double pulse (re-sync) is sent by the metronome to and recognized by the timestamp counters throughout the TDR system as an instruction to load.. This procedure corresponds to phase 8 of metronome startup sequence (see page 6 of the metronome document).

- Time-stamp alignment. This procedure is performed every 65536 clock cycles to make sure that no misalignment occurs inside the TDR. In addition, the Ancillary Detector GTS interface will return the AGATA clock counter value which is then sent as three different data items (3*16=48 bits) over the Sharc link. The TDR data acquisition and Software Event builder will treat the GTS timestamp data items in the same way as TDR ADC items. They will be included in the data stream, and will be available to the experimentalists (as well as to the AGATA merge) in the same way as other TDR data. If the GTS is busy (normal trigger request) and cannot provide the GTS timestamp when requested, then no data items are sent to the TDR system. Since this is data and not required by the TDR system  it is not considered as an error by the TDR system. It is suggested that the ETDS will be responsible for sending the regular sync item required by the TDR system. However, such trigger request corresponding to sync pulses are equivalent to normal trigger requests on the GTS supervisor side but they should simply be ignored by the GTS supervisor.

Requirements are therefore:

- LVDS 100MHz output.

- Interface with the metronome 9 pin D connector. We suggest using a 2 row ECL connector on the GTS interface.

- Shark link for clock counter transfer to the TDR collate module.

With this implementation, there are no modifications to be done to the collate and event-builder TDR software modules. The TDR data source code requires occasional (at startup) access to the VME bus for software control and status. This would be about 16 address locations with 32 bit data. P.J. Coleman-Smith offers to provide the VHDL code for the interface. A test system for the TDR would be available at CCLRC Daresbury laboratory for commissioning the AGATA ancillary detector GTS interface card.

## Inspection lines, remote diagnostic, interfacing

The card will include a trigger requested generator, ORed with the external trigger request. Two options will be implemented: i) one pulse when a register is set, or ii)   activate an internal pulse generator (programmable frequency) when a register is set.

Scalers for the most relevant signals should be available including:

- Trigger_request

- Local_Trigger

- Trigger_Validation

- Trigger_Reject

- Busy

- …

Four (to be defined) inspection lines will be available on the front panel. Mezzanine debug line will be connected to the VME carrier.

A USB II interface is suggested for interfacing ancillary detector. A Virtex pro II chip is suggested as well for future applications.

## Input/Output, Front panel connections

The interface should provide a trigger request input and a trigger validation output. The interface might provide a reset signal after a validation timeout (20µs, provided by the mezzanine); to be used in case the conversion has to be started before the end of the GTS latency time.

Inputs:

NIM Trigger request

NIM Back pressure

Outputs:

NIM Local Trigger + Diode

NIM Busy + Diode

NIM Reject + Diode

NIM Validation + Diode

NIM Time-out

LVDS 100MHz clock output

ECL I/O connector (for TDR metronome compatibility).

Data ready diode

Four spares used as inspection lines

Mezzanine I/O optical fiber

Mezzanine Ethernet connection

A free space has to be available in the front panel for the mezzanine.

JTAG bus; not necessarily a front panel connection.

Shark link

USB II link

## Card Layout

Note: On the figure below, the Jtag bus is on the front panel. This is not necessarily the case; to be decided.

Figure 4: Schematic card layout

## User interface

In the ideal case, all ancillary detectors should use the same user interface: the AGATA one. However, the AGATA user interface has not been decided and it seems unrealistic to force a detector having his interface to switch to a new standard. For instance, how can we convince a spectrometer team to change their interface?

On the other side, most of the existing ancillary detectors were used with Euroball, and a MIDAS interface already exists, which could be a good starting point.

## Documentation

Reference document when detailed specifications agreed.

User manual when interface ready.

## Design, prototype, tests and production schedule

It has been agreed to define specifications between Ganil and IFJ Krakow, with substantial contributions from M. Bellato, V. Pucknell and GSI engineers. Design will be made by IFJ Krakow which will produce two prototypes. Tests will be made both at Ganil and IFJ Krakow.

In order to perform tests without the GTS supervisor, the GTS mezzanine has to be programmed in standalone mode.

Ganil propose to write real-time software (VME host processor) for the tests.

Suggestions:

- Finish this document and submit it to the AGATA ancillary detector group for approval.

- IFJ Krakow starts to write detailed specifications; then feedbacks with Ganil and contributors until an agreement is found.

Figure 5: Schedule

## Cost

Prototype:

The mezzanine has to be bought using ancillary detectors funds. The cost is ~ 2000€ per mezzanine. The PCB prototype cost is estimated to ~ 700€ / PCB (note: 500€ was discussed during the meeting; 700€ suggested here). Parts ~300€/prototype. A total of 6000 € for two fully equipped prototypes is estimated. Costs of software or any other durable tools used for the development have not been included.

Production:

Since the number of units to be produced are relatively small we do not expect a consistent drop of cost between the prototype and production phase, we expect a cost of 2500-3000€ per interface. The production of 6 interfaces will cost ~15000-18000€.

Appendixes

- Registers

LT Ready

LT TAG

VAL Ready

VAL TAG

Test/Debug (Trigger_Request_Generator)

Scalers

And many others to be defined…

## Embedded TDR data source block diagram

# Footnotes

“Draft version of the CMC GTS Node Design Specification” M. Bellato, D. Bortolato, R. Isocrate

Notes from the ADP meeting held at Legnaro on the 1st December 2004.

available on the EDOC web server http://npg.dl.ac.uk/documents/

# Text boxes

Shark

USB II

Flash

memory

Backplane

Jtag Bus

I/O

Ethernet

Optical fiber

FPGA

Mezzanine